## Slide 1: PatBaSe Pattern-based Quantification & Clustering of Anomalous Curves in qPCR Vijay B. Reddy GTS Analytics Team

## Slide 2
Noisy Baseline
Baseline issue
Bubble
Bubble
Non-Amp curves with distinct patterns
Weak C19 amp.
Weak amp. (Crosstalk)
Clear RSV contamination at Well C1 C2 C3.
Clear RSV contamination at Well C1 C2 C3.
contamination at Well C1 C2 C3.
Notes: In the process of our report review I noticed several anomalous curves with appropriate names and explanations.
Sometimes we ourself involved in preparation of reports on our own using some of the automated scripts written by our offsite team in order to give a quick to R & D team.
As explained by experts the anomalous curves are labeled as clear, contaminated, bubble, weak Amp, baseline problem, water falls and revers water-falls, cross reactivity of dyes etc.
Presentations from experts have shown such problems.
Example of week Amps of different magnitude, base-line problem of several kind.

## Slide 3: Objective of PatBaSe:
Problem Statement:
Lack of Quantitative Approach:
  For curve annotation – current manual approach is very subjective, which leads to disparity of results between annotators
  To determine presence of anomalous events like bubble(s), crosstalk etc. due to dye quenching or system errors
  Proposed Solution:
  An Automatic Classification Tool to categorize the curves into clusters using a quantitative method
  A score-based computational mechanism to group curves exhibiting similar morphology
  Identify presence of anomalous events like bubble(s), baseline probs etc. within a curve for automated annotation
  Impact:
  Improved efficiency and accuracy of annotation workflow
  Can be made part of ML pipeline for automated curve annotation if needed
  Target Audience:
  Study Analysis Group
  Annotation Team
  ML Team (only if needed)

## Slide 4: PatBaSe Tool
  Brief About the Tool:
  A Command-line Utility
  Intake:
    Excel export of one or more analyzed eds files
    Reference Anomaly curveDB
  Output:
    Excel with curve annotations
    Outliers, Annotations Needed
  Performance Matrix:
  Provide some stats based on the DDD 73 data set.
  Provide used case states on identified & novel curves from new EDS files.
Automated annotations in CSV
Reference (Anomaly) Curve DB
EDS File
All Annotated Curve DB
Annotations
Needed
Excel Book
Manual Annotations
PatBaSe

## Slide 5: Analysis of selected curve Database
Quantify the Curve morphology into Pattern (QCP)
Similarity scoring Weight Matrix determination (SWM)
Comparative Scoring to identify similar curve Morphology (CSM)
Clustering of Curves at different % Similarity (60%, 70%, 80%, 90%) for variability evaluation. (CCS)
Obtain Representative from each Cluster after deciding the right % Similarity (RCS)
Create a Reference Curve Database for PatBaSe tool to compare and annotate new data set (RCD)
Evaluating clustering by changing Reference curve within each cluster, helps to identify acceptable best reference Curve database(ERC)
Calibrating similarity Weight Matrices and determining right weight matrix to be used with final tool (CWM)
Performance Evaluations for different Anomalous curves: Bubbles, Baseline problem, Rooster-Tail, System Issue and Waterfall (PEA)
Putting together as usable tool for Annotation study groups and automated annotation Pipeline (PAP)
Miscellaneous Work, code review and Deployment etc. (MWD)
Analysis to create reference curve data set
Analysis to test and improve the performance

## Slide 6
 | Week | Week2 | Week3 | Week4 11/12 | Week5 11/19 | Week6 11/26 | Week7 12/03 | Week8 12/10 | Week9 12/17
1. QCP |  |  |  |  |  |  |  |  | 
2. SWM |  |  |  |  |  |  |  |  | 
3. CSM |  |  |  |  |  |  |  |  | 
4. CCS |  |  |  |  |  |  |  |  | 
5. RCS |  |  |  |  |  |  |  |  | 
6. RCD |  |  |  |  |  |  |  |  | 
7. REC |  |  |  |  |  |  |  |  | 
8. CWM |  |  |  |  |  |  |  |  | 
9. PEA |  |  |  |  |  |  |  |  | 
10. PAP |  |  |  |  |  |  |  |  | 
11. MWD |  |  |  |  |  |  |  |  | 
Milestone Plan & Weekly Status

## Slide 8
Extreme Value Calculation's and Grouping of dRn values
Distribution of dRn values in each of 10 Cycle
Top 10%
Mean Bottom 10%
+ve Side Extreme Values
-ve Side Extreme Values
J
I
H
G
F
E
D
C
B
A
J
I
H
G
F
E
D
C
B
A
a
b
c
d
e
f
g
h
i
j
a
b
c
d
e
f
g
h
i
j
Mean
Demo of Grouping Cycle-1

## Slide 9
Scoring similarity of curve patterns
bcbcbabccaAAAAAAAaAabAbaAaAAaaaAAAaAAaaAaAaAaa 138 920 f00201_F1_C19_VIC
cbbbaAAAABBBBBBCBAAAaAabddffffffddcbaaAAAAAAAA 5695 842 f00230_F3_RSVAB_ABY
cbbbaAAAABBBBBBCBAAAaAabddffffffddcbaaAAAAAAAA f00230_F3_RSVAB_ABY
bcbcbabccaAAAAAAAaAabAbaAaAAaaaAAAaAAaaAaAaAaa f00201_F1_C19_VIC
18 18 -4 18 18 18 -2 18 16 10
20 -2 -4 18 18 -2 18 -7 -7 10
18 18 18 -3 18 16 20 20 -5 -7
54+36+10+33+54+32+36+31+4+13
+++
= 842
Maximum possible score= 920

## Slide 10
Pattern-based identification of similar curves
TESTS & RESULTS

## Slide 11
AaAaAAaaAAaAaAaaaAaAAAAAAAAABCEGIJJJJJJJJJJbaa 4815 920 f00225_H12_MS2_JUN
AAAaAaaaAaaaaaAAaaAaAAAAAAAAABCEGHHHHIIIIIIaaa 4441 654 f00223_H12_MS2_JUN
Pattern-based identification of similar curves

## Slide 12
Clustering of curves based on their % of similarity to a reference curve
1903 independent clusters, at 70% similarity including the 1126 unique member clusters appears to be good number of clusters for user cases.
The cluster similarity improved after applying positional weight matrix at 75% cluster similarit.
Clustering of Anomalous Curves into Groups

## Slide 13: 65% cluster groups
Chart: 
g000001_C19_VIC_3_A3 | -3327 | -5139 | -2063 | -101 | -19 | -581 | 535 | 36 | 641 | -325 | 123 | 1340 | -131 | -103 | -529 | 113 | -324 | 580 | 464 | 607 | -993 | -46 | -231 | -491 | -119 | -803 | -942 | -876 | -631 | 144 | -237 | -311 | -507 | 998 | 489 | 1707 | 106 | -19 | 445 | 1697 | -67 | -178 | -1065 | -1180 | 684 | -447
g000004_FluAB_FAM_219_J3 | -1542 | -1422 | -1069 | -1516 | -1714 | -1055 | 433 | 541 | 379 | 761 | 677 | 993 | 1761 | 1533 | 764 | 61 | -325 | -281 | 171 | -361 | -644 | -296 | -583 | -779 | -239 | -186 | -726 | -1096 | -962 | -397 | -449 | -754 | -954 | -358 | 286 | 79 | -318 | -379 | 243 | 862 | 768 | 1134 | 1420 | 665 | -677 | -1288
g000008_C19_VIC_169_H1 | -182 | -343 | -72 | 524 | 579 | 397 | 135 | -92 | -333 | -397 | -532 | -323 | -364 | -2 | 24 | 664 | 868 | 562 | 263 | 335 | 79 | -127 | -338 | -107 | -413 | -717 | -573 | -619 | 19 | 43 | -196 | -471 | -247 | -53 | 581 | 491 | 245 | 494 | 243 | 137 | -84 | -368 | -78 | -35 | 310 | 145
g000010_FluAB_FAM_13_A13 | -1584 | -1034 | -217 | -54 | -448 | -407 | -17 | -273 | 2 | 67 | -173 | 560 | 406 | -136 | -214 | -451 | -24 | 657 | 556 | 29 | 119 | 151 | -190 | -544 | -887 | -150 | -334 | -43 | -344 | 144 | 452 | 527 | 1192 | 675 | -29 | 96 | 920 | 622 | 704 | 167 | -124 | -754 | -677 | -169 | -1657 | -2756
g000018_C19_VIC_66_F6 | -6262 | -5036 | -3602 | -2289 | -1877 | -935 | -539 | -44 | 10 | 338 | 597 | 607 | 317 | -133 | 314 | 237 | 409 | 747 | 332 | 570 | 907 | 654 | 327 | -110 | -44 | -352 | -733 | -77 | -55 | -159 | -209 | -476 | -477 | 104 | -165 | -142 | 305 | -126 | 116 | 416 | 413 | 146 | -585 | -642 | 15 | -546
g000024_C19_VIC_97_E1 | -322 | -515 | -435 | -94 | -153 | -13 | -150 | -59 | -71 | -167 | 219 | 63 | -98 | -280 | -18 | -183 | -59 | 332 | 319 | 56 | -302 | -325 | -16 | -158 | -67 | 206 | 376 | 160 | -2 | 212 | -12 | -152 | 265 | 308 | 336 | 74 | 328 | 592 | 500 | 351 | 64 | -306 | -687 | -618 | -862 | -1162
g000028_C19_VIC_81_D9 | -2018 | -1646 | -1090 | -545 | -587 | -397 | 138 | 60 | 110 | 272 | 316 | 156 | 320 | 226 | 365 | 115 | -137 | -41 | 63 | 45 | -112 | -342 | -221 | -257 | -90 | -155 | -250 | -359 | -109 | -111 | -212 | -141 | -123 | 92 | 260 | 379 | 593 | 504 | 567 | 350 | -101 | -371 | -36 | -206 | -572 | -958
g000028_C19_VIC_83_D11 | -1448 | -1239 | -315 | -107 | -294 | -182 | 343 | 385 | 232 | 304 | 420 | 673 | 589 | 407 | 211 | -326 | -519 | 68 | 81 | -359 | -598 | -305 | -412 | -308 | -412 | -411 | -465 | -252 | -363 | -305 | -290 | -494 | -349 | -361 | 46 | 221 | 734 | 815 | 694 | 410 | 112 | 274 | 225 | 21 | -260 | -642
g000037_C19_VIC_252_K12 | -394 | -433 | -324 | -140 | -92 | -210 | -178 | 236 | 322 | 174 | 158 | 234 | -18 | -250 | 33 | 185 | -19 | 107 | 281 | 72 | -18 | -577 | -821 | -274 | -258 | -133 | 269 | 126 | -215 | -286 | -444 | -196 | 201 | 294 | 288 | 690 | 681 | 535 | 245 | 36 | -226 | 22 | 0 | -374 | -598 | -437
g000045_C19_VIC_62_F2 | -2576 | -2493 | -1299 | -1120 | -882 | -363 | -3 | 443 | 389 | 58 | 106 | -167 | -143 | -323 | -40 | 544 | 335 | 307 | 94 | 428 | 273 | -229 | -436 | -301 | -433 | 170 | -490 | -963 | -295 | 474 | 182 | -80 | 532 | 691 | 486 | 515 | 697 | 364 | 236 | 22 | -197 | -299 | -609 | -682 | -413 | -452

## Slide 14: 65% cluster groups

## Slide 15: 65% cluster groups

## Slide 16: 70% cluster groups

## Slide 17: 70% cluster groups

## Slide 18: 70% cluster groups

## Slide 19
Position based weighting scheme (Non-Amp Curves)

## Slide 20: Improvement in cluster groups after using positional weights
 | Similarity Weight Matrix Based Results |  |  |  |  |  |  | Similarity and Positional Weight Matrix-based Results |  |  |  |  | 
Cluster | No of Clusters (12087 curves) |  |  |  |  |  |  | No of Clusters (12087 curves) |  |  |  |  | 
Members | 60% | 65% | 70% | 75% | 80% | 90% |  | 60% | 65% | 70% | 75% | 80% | 90%
1 | 146 | 412 | 1127 | 2325 | 3220 | 7972 |  | 39 | 90 | 267 | 883 | 1776 | 5980
2 | 85 | 172 | 326 | 472 | 386 | 363 |  | 20 | 55 | 108 | 232 | 413 | 427
3 | 39 | 90 | 143 | 158 | 113 | 138 |  | 13 | 15 | 65 | 106 | 174 | 147
4 | 31 | 52 | 72 | 90 | 67 | 66 |  | 6 | 16 | 26 | 69 | 75 | 83
5 | 11 | 27 | 46 | 44 | 42 | 46 |  | 4 | 16 | 17 | 34 | 49 | 50
6 | 11 | 24 | 24 | 30 | 32 | 27 |  | 6 | 3 | 17 | 20 | 30 | 25
7 | 6 | 13 | 13 | 21 | 15 | 20 |  | 2 | 8 | 10 | 26 | 19 | 28
8 | 10 | 11 | 24 | 14 | 13 | 14 |  | 0 | 1 | 6 | 11 | 15 | 16
9 | 6 | 5 | 9 | 13 | 13 | 13 |  | 2 | 1 | 2 | 10 | 10 | 14
10 | 5 | 7 | 10 | 10 | 7 | 7 |  | 2 | 5 | 8 | 8 | 13 | 8
>10 | 73 | 401 | 117 | 98 | 97 | 69 |  | 42 | 63 | 101 | 120 | 118 | 97
Total Groups | 423 | 1214 | 1911 | 3275 | 4005 | 8735 |  | 136 | 273 | 627 | 1519 | 2718 | 6875
>10 curve clusters | 9706 | 9440 | 8725 | 7527 | 6632 | 1880 |  | 11837 | 11557 | 10902 | 9416 | 7749 | 3550
Highest Members | 2204 | 1515 | 1185 | 878 | 531 | 136 |  |  |  |  |  | 634 | 249

## Slide 21: Positional Weights applied at 75% Cluster Groups

## Slide 22: 80% Similarity curves

## Slide 23: 3 groups of 10 Uniq member clusters (unrelated at 80%)

## Slide 24: PatBaSe Tool
Automated annotations in CSV
Reference (Anomaly) Curve DB
EDS File
All Annotated Curve DB
Annotations
Needed
Excel Book
Manual Annotations
PatBaSe
Working on final part of the tool
To accept new eds output
To compare with reference set of
annotations
Automatically annotate the new
related curves.
Report the automated annotations
one side
Report the unrelated curves back
to the for manual annotation